Telecon Minutes

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Wednesday, September 24, 2008 at 10:30AM EST

Participants

Stephen Berger

Jim Turner

Steve Julstrom

Tom Knipple

Dave Preves

Joe Morissey

Linda Kozma-Spytek

Don Witters

Srinivas Nandkumar

David Dzumba

Donald Bowen

Agenda

- Call to order and introductions

- Approval of agenda

- Review & approval of Sept. 24 telecon minutes

- Patent Policy

- Presentation – IEEE 1900.2 - Berger

  - Discussion – Applicability to work of WG3

- WG3 Polling Procedure

- Review of draft and status of items listed on website.

- Next In-Person meeting: Mon. Oct. 6, 2008 at 1:00 PM ET

- Adjourn

Minutes

- The chair called the meeting to order at 10:30 AM CT.   Participants were identified and self-introductions were made.

- The agenda was reviewed and approved.

- Minutes for the September 24 telecon were approved.

- The chair reviewed slides on the patent policy and anti-trust guidance.  

The question was asked of all participants as to whether there was any know use of patented material or material in patent applications that was essential for the revision of C63.19 being developed.  No patent material was identified by the participants.

- Stephen Berger presented on the growing trend toward software defined radio and flexible radio design.  The recently published IEEE 1900.2 on interference and coexistence analysis was presented with discussion of possible application to the work of WG3.

Some discussion was held as to the usefulness of continuing the discussion of technology evaluation in parallel with the revision of C63.19 and its product qualification test methods.  There was consensus to continue the parallel discussions and to continue to explore the utility of using IEEE 1900.2 as a framework for that discussion.

- A discussion was held of WG polling procedures.  A suggestion was made to change the 75% in the wording suggested to 2/3 or 67%, for consistency with the parent committee.  
A WG poll will be issued on this item, with a response date of Monday, September 6 at noon.

- The next in-person meeting will be held from 1-5 PM Monday, October 6 at UL in Northbrook, IL.

Summary of Action Items

| # | Item | Status |
| --- | --- | --- |
|  | Action Items from October 1, 2008 WG Telecon |
| 1 | Action item: |  |
| 2 | Action item: |  |
| 3 | Action item: |  |
| 4 | Action item: |  |
| 5 | Action item: |  |
| 6 | Action item: |  |
| 7 | Action item: |  |
| 8 | Action item: |  |
| 9 | Action item: |  |
| 10 | Action item: |  |

| Conference Summary |  |
| --- | --- |
| Conference Type: | Web-Scheduled Standard |
| Conference Date: | Wednesday, October 01, 2008 |
| Reservation Start Time: | 09:30 AM Central Daylight Time |
| Reservation End Time: | 11:25 AM Central Daylight Time |
| Conference Details |
| # Start Time End Time Caller Number Mins. 1 10/01/2008 09:26 AM 11:07 AM 102 2 10/01/2008 09:27 AM 11:07 AM 954-723-xxxx 100 3 10/01/2008 09:29 AM 11:07 AM 630-452-xxxx 99 4 10/01/2008 09:30 AM 11:07 AM 973-236-xxxx 98 5 10/01/2008 09:30 AM 11:07 AM 301-796-xxxx 98 6 10/01/2008 09:31 AM 11:07 AM 469-231-xxxx 97 7 10/01/2008 09:32 AM 11:07 AM 512-869-xxxx 96 8 10/01/2008 09:33 AM 11:07 AM 773-706-xxxx 95 9 10/01/2008 09:33 AM 11:03 AM 952-941-xxxx 91 10 10/01/2008 09:34 AM 11:07 AM 240-276-xxxx 94 11 10/01/2008 09:37 AM 09:47 AM 301-693-xxxx 10 12 10/01/2008 09:49 AM 11:06 AM 301-693-xxxx 78 |
| Total Calls: | 12 |
| Peak number of active lines: | 11 |
| Lines reserved: | 15 |